## Slide 1: Basic Electrical Technology [ELE 1051]
Chapter 3 - Single Phase AC Circuits
(3.1)

## Slide 2: Introduction
Alternating Quantity
  An alternating quantity is time dependent or frequency dependent.
  The direction changes over every half cycle.
  Eg: Time varying voltage, current etc.
i
t
0
i
t
0
i
t
0

## Slide 3: DC vs. AC
 | DC | AC
Obtained from | Battery / cell / derived from AC | AC Generator
Polarity | Positive and Negative | Oscillatory
Types | Constant or pulsating | Sinusoidal, Trapezoidal, Triangular, Square
Frequency | Zero | 50Hz or 60Hz
P
N

## Slide 4: Generation of Alternating EMF
Generator working principle

## Slide 5: EMF Equation
EMF induced per conductor is
e = B l v sinθ
EMF Induced in one turn of a coil is
e = 2 B l v sinθ
If, b = width of the coil,
v = π b n ‘n’ is the speed in revolutions per sec.
e = 2 B l b π n sinθ
= 2 B A π n sinθ
If there are N turns in the coil, the emf induced is,
e = 2 π n B A N sinθ
Conductor
l
b
Turn of a coil
B
v
e = Em sin

## Slide 6: Terminologies in AC waveform
Cycle: Each repetition of the alternating quantity, recurring at equal intervals
Period (T): Duration of one cycle
Instantaneous Value (e(t)): The magnitude of a waveform at any instant in time
Peak Amplitude: Maximum value or peak value of alternating quantity
Frequency (f): Number of cycles in one second (Hz)
Em
One Cycle
e(t) = Emsin
Time →
e(t) →

## Slide 7: Average value of Sinusoidal Alternating Current
Definition: “The average value of an alternating quantity is defined as that value which is obtained by averaging all the instantaneous values over a period of half cycle”.
Im
t
i
T
For a periodic function f(t) with period T,
For sinusoidal signal,

## Slide 8: RMS value of Sinusoidal Alternating Current
Definition: “The RMS value is the square root of the mean (average) value of the squared function of the instantaneous values”.
For a periodic function f(t) with period T,
Notes: W=2*pi*f=2*pi/T
T=2*pi/w
sin2wt=(1-cos2wt)/2

## Slide 9: Form Factor & Peak Factor
Notes: Form factor importance:
Most of the the AC multimeters are designed to display the RMS value of a sinusoidal wave. Since RMS value can be difficult to calculate digitally, the average value is calculated and the result is multiplied by the form factor.
Peak factor importance:
to get an idea about the deviation of a waveform from d.c signal

## Slide 10: Illustration 1
If an alternating voltage has the equation
v(t) = 155.56 sin 314t
Calculate:
  Maximum voltage value
  RMS value of the voltage
  Frequency
  The instantaneous voltage when t = 3ms
Notes: Answers:
a) Maximum Value = 155.56 V
b) RMS Value = 110 V
c) Frequency = 50 Hz
d) Instantaneous voltage = 125.8V

## Slide 11: Illustration 2
Determine the rms value, average value, and form factor of the current waveform
shown in Fig.
I avg = 2A
I rms = 2.3 A

## Slide 12: Illustration 3
For the circuit shown below, sketch the voltage across the resistance, & then find the Average value and RMS value of the same.
Vavg =
Vrms = Vm/2

## Slide 14
Thank You!