## Slide 1: Basic Electrical Technology [ELE 1051]
Chapter 3 - Single Phase AC Circuits
(3.2)

## Slide 2: Complex Number
A complex number is of the form a + i b
Represented on complex plane as:
Imaginary
Real
0
b
a
Notes: Picture Courtesy: Google

## Slide 3: The operator ‘j’
The operator ‘j’ rotates the given vector by 90 degrees in anti-clockwise direction

## Slide 4: Rectangular ↔ Polar conversion
Rectangular to polar:
Polar to Rectangular:
Imaginary
Real
0
y
x
|a|

## Slide 5: Representation of a complex number
Rectangular form:
Polar form:
Exponential form:
Trigonometric form:

## Slide 6: Rectangular ↔ Polar conversion
Convert the following into polar form
3 + j 4 = 5 53.13
8 + j 6 = 10 36.87
8 – j 6 = 10 -36.87
Convert the following into rectangular form
5 30 = 4.33 + j 2.5
3 -60 = 1.5 – j 2.59
-(10 45) = - 7.07 – j 7.07

## Slide 7: Representing AC
Consider three sinusoidal signals with same frequency
Graphical Representation
Mathematical Representation
Phasor Representation
Amplitude →
Time →
Representing the relationship between sinusoidal signals with same frequency in graphical or mathematical form is tedious
Phasor representation is often used

## Slide 8: R circuit response with AC supply
Amplitude →
Time →
f = 50 Hz
Graphical Representation
Mathematical Representation
Phasor Representation
‘Current through the resistor
is in phase with the voltage across it’

## Slide 9: L circuit response with AC supply
Graphical Representation
Mathematical Representation
Phasor Representation
f = 50 Hz
Amplitude →
Time →
‘Current through the inductor lags the voltage across it by 90’
Notes: Derive in class v(t) and i(t) for L to find XL.

## Slide 10: C circuit response with AC supply
Graphical Representation
Mathematical Representation
f = 50 Hz
Phasor Representation
Amplitude →
Time →
‘Current through the capacitor
leads the voltage across it by 90’
Notes: Derive in class v(t) and i(t) for C to find XC.

## Slide 11: Power Associated - Pure Resistive Circuit
0.02
0.04
0.06
Amplitude
Time(sec)
Instantaneous power,

## Slide 12: Power Associated – Pure Inductive Circuit
Amplitude
Time(sec)
0.04
0.06
0.02
Instantaneous power,

## Slide 13: Power Associated – Pure capacitive Circuit
0.02
Time(sec)
Amplitude
0.04
0.06
Instantaneous power,

## Slide 14
Thank You!