## Slide 1: Basic Electrical Technology [ELE 1051]
Chapter 3 - Resonance

## Slide 2: Series Resonance
v(t), variable frequency
f
o
R
fo
R, X, Z
Z is inductive
Z is capacitive

## Slide 3: Series Resonance
When series RLC circuit is at resonance,
  Current is in phase with voltage
  Circuit power factor is unity
  Resonant frequency for a series RLC circuit is obtained as follows:
v(t), variable frequency

## Slide 4: Current vs. Frequency in RLC Series Circuit
Variation of current with frequency
Half Power Frequency
‘Frequency at which the power is half of the power at resonant frequency’
In practice the curve of against ω is not symmetrical about the resonant frequency

## Slide 5: Half Power Frequency
At
At

## Slide 6: Quality Factor for series circuit
At resonance, and can be very much greater than applied voltage
At resonance,
Q is termed the Q factor or voltage magnification
High value of Q can lead to component damage
Careful design necessary
Larger the value of Q, more symmetrical the curve appears about the resonant frequency

## Slide 7: Illustration 1
A circuit having a resistance of 4Ω and inductance of 0.5H and a variable capacitance in series, is connected across a 100V, 50Hz supply. Calculate:
  The capacitance to give resonance
  The voltages across the inductor and the capacitor
  The Q factor of the circuit
b) VC = 3926.99 V
c) Q-factor = 39.26
Notes: ‘Huges Electrical & Electronic Technology’, 10th edition
Page No. 303, Example 14.1

## Slide 8: Illustration 2
The bandwidth of a series resonant circuit is 500 Hz. If the resonant frequency is 6000 Hz, what is the value of Q? If R =10 Ω, what is the value of the inductive reactance at resonance? Calculate the inductance and capacitance of the circuit
Notes: ‘Huges Electrical & Electronic Technology’, 10th edition
Page No. 310, Example 14.3

## Slide 9: Resonance in parallel circuits
Steps to obtain the expression of resonant frequency in parallel circuits
  Obtain the net admittance of the circuit ;
  Equate the imaginary part (susceptance) to zero; Beq = 0 and obtain the expression of
  The expression for resonant frequency depends on circuit configuration

## Slide 10: Current vs. Frequency in parallel Circuits
At resonance
  Impedance is maximum
  Resultant current minimum
ωr
o

## Slide 11: Parallel resonance circuits
Rationalizing ;
Separating the real & imaginary terms ;

## Slide 12: Parallel resonance circuits
If RL = Rc :
Equating the imaginary part to zero;
Solving for ;

## Slide 13: Exercise 1
A parallel circuit with an RL series branch (R = 20 Ω and L = 50 mH) and an RC series branch (R = 10 Ω and C = 100 µF) are connected to a variable frequency voltage source. Find at what frequency the circuit will resonate?
Ans:
Notes: Parker Smith’s 500 solutions of problems in electrical engineering – solved by V. C. Natesan
Page No. 186, Problem 6.69

## Slide 14: Exercise 2
Obtain the expression for resonant frequency for the given parallel circuit

## Slide 15
Thank You!