## Slide 1: Basic Electrical Technology [ELE 1051] 4. Three Phase AC Circuits
L21 – Generation & Representation of three phase supply

## Slide 2: Topics Covered
Generation of Three Phase Supply
Representation of Three Phase Excitation
Relationship between Phase and Line Voltages
3 Phase Supply & Loads

## Slide 3: Generation of Three Phase
Courtesy : www.ece.umn.edu
ERN
EYN
EBN

## Slide 4: 3 Phase Excitation (Phase Voltages)
R
B
Y
N
ZS
ZS
ZS
ERN
EYN
EBN
Three Phase Source
VRN
VYN
VBN
Phase Voltages,
Summing up the phase voltages,
VRN
VYN
VBN
120
120

## Slide 5: 3 Phase Excitation (Phase Voltages)..
R
B
Y
N
ZS
ZS
ZS
ERN
EYN
EBN
Three Phase Source
VRN
VYN
VBN
R
B
Y
N
VRN
VYN
VBN
Three Phase Source
Notes: The excitation emf and the source impedance can now be replaced by the terminal voltage of the generator / source.

## Slide 6: 3 Phase Excitation (Line Voltages)
Line Voltages,
VYB
VRY
VBR
-VYN
VRY
VRN
VYN
VBN
30
R
B
Y
N
VRN
VYN
VBN
Three Phase Source
Notes: VRY=Vm Sint - Vm Sin (t – 120)
=Vm Sint - Vm [Sin t * Cos 120 - Sin 120* Cos t]
= Vm Sint - Vm [-Sin t * 0.5 – 0.866* Cos t]
= 3/2 Vm Sint + 3/2* Vm Cos t
= 3 [3/2 Vm Sint + 1/2* Vm Cos t]
= 3 [ Cos 30 * Sint + Sin 30 Cos t]
= 3 Sin (t + 30)

## Slide 8: 3 Phase Excitation (Line Voltages)…
Similarly,
VRY
-VBN
VYB
VRN
VYN
VBN
-VRN
VBR
Summing up the Line voltages,
In a Three Phase balanced Supply, the summation of Phase voltages and summation of Line Voltages is zero.
120
120

## Slide 9: Relation b/w Phase & Line Voltages
Phase Voltages
Line Voltages
|VLine|=3 |VPhase|
VRN
VYN
VBN
VRY
VYB
VBR
t

## Slide 10: Phase Sequence
1. RYB
2. RBY
VRY
VYB
VRN
VYN
VBN
VBR
120
30
VRB
VBY
VRN
VBN
VYN
VYR
120
30
Phase Sequence is the order in which three phases attain their peak or maximum values

## Slide 11: Exercise-1
Given the phase voltage VRN of a 3 phase balanced RYB system as 240V, express the phase and line voltages mathematically. Also sketch the phasor diagram.
Solution:
Phase Voltages:
Line Voltages:
VRY
VYB
VRN
VYN
VBN
VBR
120
30

## Slide 12: 3 Phase 3 Wire & 4 Wire Supply
3 Phase 3 Wire Supply
3 Phase 4 Wire Supply
R
B
Y
N
VRN
VYN
VBN
R
B
Y
N
VRN
VYN
VBN
N

## Slide 13: 3 Phase Load
        Star Connected Load
        Delta Connected Load

## Slide 14: Star Connected Load
O
ZR
ZB
ZY
R′
B′
Y′
VRO
VBO
VYO
VRY
VYB
VBR
Phase Voltages:
VRO , VYO , VBO
-VYO
VRY
Line Voltages:
-VBO
VYB
VR0
VYO
VBO
-VR0
VBR
Line Currents = Phase Currents
IB
IR
IY
For Balanced load,
Line Voltage =3 X Phase Voltage

## Slide 15: Delta Connected Load
IBR
IYB
IRY
ZBR
ZYB
ZRY
R′
B′
Y′
VRY
VYB
VBR
IRY , IYB , IBR
Line Currents:
IR
IY
IB
Phase Voltages = Line Voltages
Phase Currents:
-IYB
-IBR
-IRY
IR
IY
IYB
IRY
IBR
IB
For Balanced load,
Line Current =3 X Phase Current

## Slide 16: 3 Phase 4 Wire System
3 Phase Source
IR
IY
IB
1 Load
IN
O
ZB
ZY
R
B
ZR
Y
3 Phase Load
1 Load
1 Load
R
B
Y
N
VRN
VYN
VBN
N

## Slide 17: 3 Phase 3 wire System
O
ZR
ZB
ZY
IR
R′
B′
Y′
IY
IB
VYB
VRY
3 Wire Star Connected Load
IBR
IYB
IRY
ZBR
ZYB
ZRY
Delta Connected Load
VBR
R
B
Y
N
VRN
VYN
VBN
3 Phase Source

## Slide 18: Summary
In a three phase balanced supply,
Summation of phase voltages = zero
Summation of Line voltages = zero
Line voltage is 3 x Phase Voltage
In an RYB sequence, VRY leads VRN by 30
Power transmission is generally through 3 phase 3 wire network and distribution is through 3 phase 4 wire network.
For Balanced Star connected load, the line voltage = 3 x phase voltage.
For Balanced Delta connected load, the line current = 3 x phase current