## Slide 1
Basic Electrical Technology [ELE 1051]
Three Phase AC Circuits
L24 – Power Associated with Three Phase System

## Slide 2: Topics Covered
Power in 3 phase system: active, reactive and apparent.
Power measurement

## Slide 3: Three Phase Power
O
ZR
ZB
ZY
B
Y
VRO
VBO
VYO
VRY
VYB
VBR
R
IR
IY
IB
Complex Power,
1. Star Connected Load
Active Power,
Reactive Power,
For Balanced Load,
Active Power,
Reactive Power,
Apparent Power,
Complex Power,

## Slide 4: Three Phase Power…
Complex Power,
2. Delta Connected Load
Active Power,
Reactive Power,
IBR
IYB
IRY
ZBR
ZYB
ZRY
R
B
Y
VRY
VYB
VBR
IR
IY
IB
For Balanced Load,
Active Power,
Reactive Power,
Apparent Power,
Complex Power,

## Slide 5: Exercise-1
A balanced star connected load of 8+j6  per phase is connected to a 3 phase, 415V supply. Find the line currents, power factor, power, reactive volt amperes and total volt amperes.

## Slide 6: Exercise-2
A star connected load is supplied from a symmetrical three phase, 440V system. The branch impedances of the load are ,ZR = 530  , ZY = 1045  , ZB = 1060  . Find the active power supplied by the source.

## Slide 7: Measurement of 3 Ph. Active Power
W1
3-Phase Load using 2 Wattmeter
O
ZR
ZB
ZY
B
Y
VRY
R
IR
IY
IB
Wattmeter Reading,
W2
VBY
Total Active Power,

## Slide 8: Measurement of 3 Ph. Active Power
3-Phase Load using 2 Wattmeter
Wattmeter Reading,
Total active power consumed,
VRY
VYB
VR0
VYO
VBO
VBR
VBY = -VYB
IR
IY
IB
30


30

## Slide 9: Meas. of 3 Ph. Active Power…
Summation of two wattmeters,
Difference in the reading of two wattmeters,
Hence,
Power factor of the Balanced Load =

## Slide 10: Measurement of 3 Ph. Active Power
W1
3. Balanced Load (Star Connected) using 1 Wattmeter
O
ZR
ZB
ZY
B
Y
VRO
R
IR
IY
IB
Wattmeter Reading,
Total active power consumed,

## Slide 11: Measurement of 3 Ph. Active Power
W1
4. Balanced Load (Delta Connected) using 1 Wattmeter
Wattmeter Reading,
Total active power consumed,
IBR
IYB
IRY
ZBR
ZYB
ZRY
R
B
Y
VRY
IR
IY
IB
VYB

## Slide 12: Exercise-3
Three identical impedances of (8+j6)  are connected in delta across a symmetrical 3 phase, 3 wire 400 V system. Calculate the power factor using wattmeter readings.

## Slide 13: Exercise-4
Three loads ZR = 530  , ZY = 1045  , ZB = 1060  are connected in Star to R, Y and B Phase respectively. The current coils of the two wattmeters are connected in R & Y lines. If the supply voltage is 415V, 50 Hz, determine the reading of the two wattmeters. Assume the phase sequence is RBY.

## Slide 14: Summary
Measurement of Active Power for a three phase Star/Delta connected balanced/unbalanced load can be performed by using two wattmeters.
For a balanced Load, the Load Power factor can be measured by using one or two wattmeter method.
Measurement of power for a balanced Star/Delta load can be performed using one wattmeter.